## Slide 1: Displacement sensor based on a maser reference
C. Bragard1,2, A.S. Bogomolov1, A. Altman1, A. Goodwin-Jones1 and C. Lauzin1
1Université Catholique de Louvain, Louvain-La-Neuve, 1348, Belgium
2Université de Namur, Namur, 5000, Belgium
Belgian-Dutch Gravitational Wave meeting 2026

## Slide 2
Interest of displacement sensing
Displacement sensors measure a distance variation

## Slide 3
Interest of displacement sensing
Micro-Epsilon, optoNCDT – Laser displacement sensors, product catalog, accessed 2026.
Industry
Precision microscopy
Fundamental physics
Satellites
Displacement sensors measure a distance variation
https://www.nanoandmore.com/what-is-atomic-force-microscopy
Notes: Inertial sensors are classified into two main categories: accelerometers and gyroscopes. Broadly, accelerometers measure specific forces or accelerations, while, gyroscopes measure angular velocities.

## Slide 4
Interest of displacement sensing
https://www.nanoandmore.com/what-is-atomic-force-microscopy
Micro-Epsilon, optoNCDT – Laser displacement sensors, product catalog, accessed 2026.
Industry
Precision microscopy
Fundamental physics
Satellites
Displacement sensors measure a distance variation
constant
Time
1 ns
=
Length
30 cm
Notes: Inertial sensors are classified into two main categories: accelerometers and gyroscopes. Broadly, accelerometers measure specific forces or accelerations, while, gyroscopes measure angular velocities.

## Slide 5: Interferometry to probe distance variation
Fabry-Perot interferometer
m = 1
m = 2
m = 3
m = 4
m = 5
m = 6
m = 7

## Slide 6: Interferometry to probe distance variation
Fabry-Perot interferometer
m = 1
m = 2
m = 3
m = 4
m = 5
m = 6
m = 7

## Slide 7: Interferometry to probe distance variation
Fabry-Perot interferometer
Therefore :
m = 1
m = 2
m = 3
m = 4
m = 5
m = 6
m = 7

## Slide 8: Interferometry to probe distance variation
Michelson interferometer
Fabry-Perot interferometer
Test mirror
Tracking mirror
Beamsplitter
Laser
Photodiode

## Slide 9: State-of-the-art interferometric displacement sensor
M. B. Gray et al., “A simple high-sensitivity interferometric position sensor for test mass control on an advanced LIGO interferometer,” Optical and Quantum Electronics, vol. 31, pp. 571–582, 1999.
sensitivity

## Slide 10: Sensor recently developed by the community : Heterodyne cavity tracking
Laser 2
Laser 1
Reference cavity
Test cavity

## Slide 11: Sensor recently developed by the community : Heterodyne cavity tracking
Laser 2
Laser 1
Reference cavity
Test cavity
Inertial sensor based on optical beating measurement
= 200.000001 THz
= 200 THz

## Slide 12: Sensor recently developed by the community : Heterodyne cavity tracking
Laser 2
Laser 1
Phasemeter
Reference cavity
Test cavity
= 200.000001 THz
= 200 THz

## Slide 13: Sensor recently developed by the community : Heterodyne cavity tracking
Laser 2
Laser 1
Phasemeter
Reference cavity
Test cavity
sensitivity at 1 Hz
sensitivity at 130 Hz
sensitivity

## Slide 14: What needs to be built?
Laser 2
Laser 1
Phasemeter
1
2
3
Reference cavity
Test cavity

## Slide 15: Laser source
Home-built External Cavity Diode Laser (ECDL)
Dr A.S. Bogomolov’s design
Tunable
Narrow linewidth ?

## Slide 16: Laser source characterisation
Short Delay Self-Heterodyne interferometry
Laser
Combiner 50/50
2 km Delay line
Balanced photodiode
Spectrum analyzer
40 MHz
AOM
AOM = Acoust-Optic Modulator

## Slide 17: Laser source characterisation
Short Delay Self-Heterodyne interferometry

## Slide 18: Laser source characterisation
Short Delay Self-Heterodyne interferometry
Lorentzian

## Slide 19: Laser source characterisation
Short Delay Self-Heterodyne interferometry
Lorentzian
Interference between the two arms

## Slide 20: Laser source characterisation
Short Delay Self-Heterodyne interferometry
Lorentzian
Interference between the two arms
AOM carrier frequency

## Slide 21: Laser source characterisation
Measured linewidth of kHz
Short Delay Self-Heterodyne interferometry

## Slide 22: What needs to be built?
Laser 2
Laser 1
Phasemeter
1
Reference cavity
Test cavity

## Slide 23: What needs to be built?
Laser 2
Laser 1
Phasemeter
1
2
Reference cavity
Test cavity

## Slide 24: Locking to test cavity
= Pound-Drever-Hall (PDH) lock
Coherence transfer between the cavity and the laser
The laser follows the cavity :
And we know that :

## Slide 25: What needs to be built?
Laser 2
Laser 1
Phasemeter
1
2
3
Reference cavity
Test cavity

## Slide 26
Heterodyne cavity tracking: our approach
ECDL 1
Cavity 1
ECDL 2
Cavity 2
Maser
Phasemeter
OFC
at 1 second
OFC = Optical Frequency Comb:

## Slide 27
ECDL 1
Cavity 1
ECDL 2
Cavity 2
Phasemeter
OFC
at 1 second
Reference
Test cavity
Test cavity
Maser
Heterodyne cavity tracking: our approach

## Slide 28
ECDL 1
Cavity 1
ECDL 2
Cavity 2
OFC
at 1 second
Two advantages:
Knowledge of which cavity is moving
Use of the most sensitive clocks
Reference
Test cavity
Test cavity
Maser
Heterodyne cavity tracking: our approach

## Slide 29
Evolution of the beating frequency variations over time
Cavity 1 2 kHz/s
Cavity 2 kHz/s
Heterodyne cavity tracking: our results

## Slide 30
Evolution of the cavity length variations over time
sensitivity of both cavities
cm
cm
Heterodyne cavity tracking: our results

## Slide 31
sensitivity comparison
Heterodyne cavity tracking: comparison

## Slide 32
sensitivity comparison
Between 200 mHz and 10 kHz, they reach sensitivities below
Between 200 mHz and 10 kHz, we reach sensitivities below
Note: they have published on ArXiV a article with improved results in May 2026
At 100 Hz, we have a sensitivity of 75 fm/
Heterodyne cavity tracking: comparison

## Slide 33: Perspectives
ECDL 1
Cavity 1
ECDL 2
Maser
Phasemeter
OFC
Cavity 2
at 1 second

## Slide 34: Perspectives
ECDL 1
Cavity 1
ECDL 2
Cavity 2
Maser
Phasemeter
OFC
Stable laser with narrow linewidth : 160 Hz
at 1 second

## Slide 35: Perspectives
ECDL 1
Cavity 1
ECDL 2
Cavity 2
Strontium clock
Phasemeter
OFC
Frequency link with ORB
at 1 second

## Slide 36: Perspectives
ECDL 1
Cavity 1
ECDL 2
Cavity 2
Phasemeter
Development of other frequency standards
at 1 second
Stable laser
Ultra-stable cavity

## Slide 37: Perspectives
Laser 1
Cavity 1
ECDL 2
Strontium clock
Phasemeter
OFC
Increased sensitivity for :
Reference clock
Test cavity
Improvement sensitivity of at least a factor 10
Cavity 2
at 1 second
Notes: Maser à 5 10^-13 à 1 sec?

## Slide 38
Thank you for your attention

## Slide 39: Backups

## Slide 40: Perspectives
ECDL 1
Cavity 1
ECDL 2
Cavity 2
Phasemeter
OFC
at 1 second
Frequency link with ORB
Hydrogen maser
at 1 second
Ultra-stable cavity
Development of other frequency standards

## Slide 41: Frequency reference
GPS-disciplined oscillator
Frequency stability between
and over 10 000 s

## Slide 42: Linear drift removed

## Slide 43: ECDL
ECDL center frequency at 193.548 THz (~1550 nm)
    Laser diode tunability : 1500 to 1630 nm
15 GHz mode hop free tuning range
Dr A.S. Bogomolov’s design

## Slide 44: Pound-Drever-Hall locking
Pound-Drever-Hall locking
Generation of sidebands
Feedback loop
Error signal
Frequency modulation
Notes: /!\ stabilisation of the laser frequency in comparison to the cavity, not absolute
When you lock on a cavity you stabilise your laser frequency in regards of the cavity so if the cavity is moving then the laser moves as well